

**IS-6000**

 VIDEO SYSTEM FOR SLIT LAMP

3.5’’ LCD colour touch screen

Digital zoom & 3 resolutions

Software for digital documentation

Image and video recording

LED backlight illumination (variable)

Integrated SD card slot

Up to 5 Mpx